Dongguan Hai Mi Electronic Technology Limited.

DC Brushless Water Pump
	

	· Product Parameter

	Model
Character
	             HM4505-1 ( Three phase pump)

	
Working voltage range
	6VDC-24VDC

	Rated power
	   10~60 W 

	
Static water head range
	2~13 meters 

	
Static flow rate range
	5~ 20 L/min 

	
Lifespan
	Continuous operation under normal working surrounding＞20000H

	
Working Environment
	PH value: PH5-10(weak acid and weak base), workable both on land and in water.

	
Max noise
	Under normal working condition,(1meter over the test instrument)＜40dB

	
Other optional special functions

	Water shortage protection, over-voltage protection, over-current protection, blocking protection, 0-5V speed control, PWM speed control, FG signal feedback, etc.

	
Max working temperature
	Under room temperature surroundings, fluid medium temperature≤75℃

	        Application
	Solar/Gas/Electric water heater, bathtub, bathroom intelligent smart electric toilet, Kitchen equipment, swimming pool spa heating system, medical equipment, beauty equipment, mobile bath machine, mobile air conditioner, tab water booster, solar fountain, aquarium, water tank, fish pond, solar water circulation, water circulation of home appliance, crafts, etc.

	
Color
	Black (Can be customized according to customer`s requirement)

	
Outlet direction
	Can be adjustable at any angle

	
Dimension
	IP grade
	Inlet
	Outlet
	Remarks

	
Length
（mm）
	
Width（mm）
	
Height（mm）
	
	OD（mm）
	ID（mm）
	OD（mm）
	ID（mm）
	Inlet and outlet have threads.

	
94.0

	46.5
	83.5
	IP66
	G1/2 standard thread
	14.0
	G1/2 standard thread
	14.0
	

	· Outside View
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	· Curve Graph
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Remarks: The graph is just for your reference, the final one comes with the customer required specifications.  

	· Photo for your reference
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https://haimidcpump.en.alibaba.com
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