DC Brushless Water Pump

| - Product Parameter |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model Character |  |  | HM6006-1( Three phase pump) |  |  |  |  |  |  |
| Working voltage range |  |  | 12VDC-48VDC |  |  |  |  |  |  |
| Rated power |  |  | 12~80 W |  |  |  |  |  |  |
| Static water head |  |  | 2~20 meters |  |  |  |  |  |  |
| Static flow rate |  |  | 10~ 28 L/min |  |  |  |  |  |  |
| Lifespan |  |  | Continuous operation under normal working surrounding＞20000H |  |  |  |  |  |  |
| Working Environment |  |  | PH value: PH5-10(weak acid and weak base), workable on land only. |  |  |  |  |  |  |
| Max noise |  |  | Under normal working condition,(1meter over the test instrument)＜45dB |  |  |  |  |  |  |
| Max working temperature |  |  | Under room temperature surroundings, fluid medium temperature≤80℃ |  |  |  |  |  |  |
| Other optional special functions |  |  | Water shortage protection, over-voltage protection, over-current protection, blocking protection, 0-5V speed control, PWM speed control, FG signal feedback, etc. |  |  |  |  |  |  |
| Application |  |  | Solar water circulation systems, solar water heating systems, solar pool heating systems, water heater pressure boosters, high-rise building water pressure boosters, sewage systems, lathe washing systems,(EV)Water circulation cooling systems, car wash systems, household appliance water circulation systems, agriculture irrigation, fountain, aquarium, water tank, fish pond, crafts, etc. |  |  |  |  |  |  |
| Color |  |  | Black (Can be customized according to customer’s requirement) |  |  |  |  |  |  |
| Outlet direction |  |  | Can be adjustable at any angle |  |  |  |  |  |  |
| Dimension |  |  |  | IP grade | Inlet |  | Outlet |  | Remarks |
| Length （mm） | Width（mm） | Height（mm） |  |  | OD（mm） | ID（mm） | OD（mm） | ID（mm） | Inlet and outlet have threads. |
| 91.5 | 71.0 | 81.5 |  | IP68 | G1/2 | 16.0 | G1/2 | 16.0 |  |
| - Outside View |  |  |  |  |  |  |  |  |  |
| - Curve Graph |  |  |  |  |  |  |  |  |  |
| Remarks: The graph is just for your reference, the final one comes with the customer required specifications. |  |  |  |  |  |  |  |  |  |
| - Photo for your reference |  |  |  |  |  |  |  |  |  |